NOTIFICATION

The following notification is being circulated in accordance with Article 10.6.

|  |  |
| --- | --- |
| **1.** | **Notifying Member:** CHILE**If applicable, name of local government involved (Articles 3.2 and 7.2):** |
| **2.** | **Agency responsible:** *Superintendencia de Electricidad y Combustibles*, SEC (Electricity and Fuel Board)**Name and address (including telephone and fax numbers, email and website addresses, if available) of agency or authority designated to handle comments regarding the notification shall be indicated if different from above:***Subsecretaría de Relaciones Económicas Internacionales - Ministerio de Relaciones Exteriores de Chile* (Under-Secretariat for International Economic Relations, Ministry of Foreign Affairs of Chile) |
| **3.** | **Notified under Article 2.9.2 [ ], 2.10.1 [ ], 5.6.2 [X], 5.7.1 [ ], other:** |
| **4.** | **Products covered (HS or CCCN where applicable, otherwise national tariff heading. ICS numbers may be provided in addition, where applicable):** Floodlight luminaires (area floodlights) for public lighting |
| **5.** | **Title, number of pages and language(s) of the notified document:** *Proyecto de Protocolo de Análisis y/o Ensayos de Seguridad de Luminaria Proyector (Proyector de Área) para Alumbrado Público* (Draft safety analysis and/or test protocol for floodlight luminaires (area floodlights) for public lighting) (11 pages, in Spanish) |
| **6.** | **Description of content:** The notified protocol establishes the safety certification procedure requirements for electrical floodlight luminaires or area floodlights for public outdoor lighting and other applications, to be used for floodlighting, when the light is directed by reflection and/or refraction, in a state representative of new products, for use with electrical lighting sources such as incandescent, fluorescent, discharge, LED or induction lamps or other technologies, on supply voltages not exceeding 1,000 V. The protocol is in conformity with the scope and field of application of IEC standard 60598-2-5:2015-08 "Luminaires - Part 2-5: Particular requirements - Floodlights". |
| **7.** | **Objective and rationale, including the nature of urgent problems where applicable:** Protection of human health or safety |
| **8.** | **Relevant documents:**- IEC 60598-1:2020, Luminaires - Part 1: General requirements and tests.- UNE-EN 60598-1:2018, Luminaires. Part 1: General requirements and tests.- IEC 60598-2-5:2015-08, Luminaires - Part 2-5: Particular requirements - Floodlights.- *Ley Nº18.410:1985 del Ministerio de Economía, Fomento y Reconstrucción*.- *Decreto Supremo Nº298, de 2005, Certificación de Productos Eléctricos y Combustibles del Ministerio de Economía, Fomento y Reconstrucción*.- *Resolución Exenta Nº 63 de fecha 06.08.2012, del Ministerio de Energía*. |
| **9.** | **Proposed date of adoption** -**Proposed date of entry into force:** - |
| **10.** | **Final date for comments:** 60 days from notification |
| **11.** | **Texts available from: National enquiry point [X] or address, telephone and fax numbers and email and website addresses, if available, of other body:**Subsecretaria de Relaciones Económicas InternacionalesMinisterio de Relaciones Exteriores de ChileTeatinos 180, piso 11Tel.: (+56) 2 2827 5250Fax: (+56) 2 2380 9494Email: tbt\_Chile@subrei.gob.cl<https://www.sec.cl/sitio-web/wp-content/uploads/2021/05/Protocolo-PE-5-19-2021-Proyector-de-AP_vers1.pdf><https://members.wto.org/crnattachments/2021/TBT/CHL/21_3871_00_s.pdf> |